## Establishment
Tweefontein Plantation
Construction of Stream Crossing at N28
ITEM | DESCRIPTION |  | UNIT | QUANTITY | RATE | AMOUNT
1 | CONTRACTORS ESTABLISHMENT ON SITE
| (a) | Site Establishment | Lump Sum | 1
| (b) | De- establishment | Lump Sum | 1
| TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  | 0

## N28
Tweefontein Plantation
Construction of Stream Crossing at N28
ITEM | DESCRIPTION |  |  | UNIT | QUANTITY | RATE | AMOUNT
1 | Excavation:
| (a) | Excavating soft material situated within the
following depth ranges below the surface
level:
|  | (i) | 0 m up to 1,5 m | m³ | 88
| (b) | Extra over subitem 22.01(a) for excavation
|  | in hard material, irrespective of depth |  | m³ | 13.2
including blasting
| (c) | Extra over subitem B22.01(a) for excavation
|  | by hand using hand tools |  | m³ | 2
2 | Backfilling:
| (a) | Using the excavated material |  | m³ | 79
| (b) | Using imported selected material |  | m³ | 123
| (c) | Extra over subitems 22.02(a) and (b) for soil
|  | cement backfilling containing 6 % cement |  | m³ | 20
3 | Pipe culverts:
On class B bedding
| (a) | 1000mm 8KN/m² HDPE Storm water Structured |  | m | 18
SANS21138 wall Pipes manufactured in
accordance to specs c/w with sand seal sockets
4 | Cast in situ concrete and formwork :
| (a) | In class A bedding, screeds and the
encasing for pipes, including formwork:
|  | (i) | Class 15/19 Concrete | m³ | 3
| (b) | In floor slabs for portal or rectangular
culverts, including formwork, joints and
class U2 surface finish:
|  | (i) | Class 30/19 Concrete | m³ | 6
| (c) | In inlet and outlet structures, excluding
formwork but including class U2 surface
finish (class 30/19 concrete)
|  | (i) | Class 30/19 Concrete | m³ | 63
| (d) | Formwork of concrete under subitem
22.07(c) above (type of finish indicated):
|  | (i) | Class F1 surface finish | m² | 51
5 | Steel reinforcement:
| (a) | Mild steel bars |  | t | 4
| (b) | Welded steel fabric ref 8.88 |  | kg | 290
6 | Removing existing pipes including concrete :
| (a) | 900 mm dia concrete pipes on |  | m | 30
class B bedding
Gabions:
| (a) | Gabion boxes 2.0x1.0 x1.0 with 80mm*100mm |  | m³ | 22
galvanized wire mesh:
Filter fabric (Cl. C2104):
| (a) | Bidim/Kaymat F34 or similar |  | m² | 56
TOTAL CARRIED FORWARD TO SUMMARY

## Summary
SUMMARY OF SCHEDULES
Tweefontein Plantation
Construction of Stream Crossing at N28
ITEM | DESCRIPTION | AMOUNT
1 | CONTRACTORS ESTABLISHMENT ON SITE
2 | CONSTRUCTION OF STREAM CROSSING - N28
| Total Construction Cost | 0
| Value Added Tax at 15% | 0
| Total Amount | 0